Supplemental Table 1. LC-MS evaluation parameters of detection, internal standards and calibration curve range (upper and lower limits of quantification).
	Reference Standard
	Internal Standard
	Calibration Curve Range (ng/mL)

	Name
	Retention Time (min)
	MRM (Polarity)
	Name
	MRM (Polarity)
	

	CBD
	4.7
	315>193 (+)
	CBD-d3
	318>196 (+)
	2.5 - 2,500

	CBDA
	4.4
	359>219 (+)
	CBD-d3
	318>196 (+)
	1 – 2,500

	THC
	5.8
	315>193 (+)
	THC-d3
	318>196 (+)
	1 - 1,000

	THCA
	6.3
	357>313 (-)
	THCA-d3
	360>314 (-)
	0.25 - 1,000

	CBG
	4.6
	317>193 (+)
	CBD-d3
	318>196 (+)
	0.5 - 1,000

	CBGA
	4.55
	361>219 (+)
	CBD-d3
	318>196 (+)
	1 – 1,000

	CBC
	6.15
	315>193 (+)
	THC-d3
	318>196 (+)
	2.5 - 1,000

	CBN
	5.4
	311>223 (+)
	CBD-d3
	318>196 (+)
	0.5 - 1,000

	7-COOH-CBD
	2.4
	345>299 (+)
	7-COOH-CBD-d3
	348>302 (+)
	1 - 1,000

	7-OH-CBD
	2.5
	331>201 (+)
	7-OH-CBD-d5
	336>201 (+)
	10 - 1,000

	COOH-THC
	3.7
	345>299 (+)
	COOH-THC-d9
	354>308 (+)
	0.5 - 500

	COOH-THC-Glu
	2.2
	521>299 (+)
	COOH-THC-Glu-d3
	524>302 (+)
	0.5 - 500

	11-OH-THC
	3.6
	331>201 (+)
	11-OH-THC-d3
	334>201 (+)
	5 - 1000
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