Table S2. Resting-state fMRI parameters of the HCP
	Parameter
	[bookmark: _Hlk184050808]HCP

	Scanner
	3.0T Siemens Trio

	Sequence
	GRE-EPI

	TR (ms)
	720

	TE (ms)
	33.1

	FA (°)
	52

	FOV (mm²)
	208×180

	Matrix size 
	104×90

	Slice thickness (mm)
	2

	Slice gap (mm)
	0

	Slices
	72

	Time points
	1210


[bookmark: _Hlk183783035]HCP, Human Connectome Project; GRE-EPI, gradient-recalled echo-Planar Imaging; FA, flip angle; fMRI, functional magnetic resonance imaging; FOV, field of view; TE, echo time; TR, repetition time.
