Supporting information for

Elimination of neonicotinoids present in secondary effluents by ferrate(VI)-based advanced oxidation processes
Francisco J. Real*, Juan L. Acero and Esther Matamoros
Departamento de Ingeniería Química y Química Física, Instituto Universitario de Investigación del Agua, Cambio Climático y Sostenibilidad (IACYS), Facultad de Ciencias, Universidad de Extremadura, Avda. de Elvas s/n, 06006-Badajoz, Spain.

*Author to whom correspondence should be addressed. e-mail: fjreal@unex.es Fax number: +34 924289385. Tel. number: +34 924289384

Table of contents
Text S1
Chromatographic methods for the analysis of micropollutants
p. S3

Table S1
Physico-chemical properties of selected neonicotinoids
p. S4
Table S2
Quality parameters of selected secondary effluents
p. S5
Figure S1
Decay of Fe(VI) with reaction time in experiments of oxidation of THM by Fe(VI) in UP water at different pH
p. S6
Figure S2
Evolution of (A) THM, (B) IMI, (C) CLO, (D) THC and (E) ACE with reaction time during Fe(VI) treatment in UP water at different pH
p. S7
Figure S3
Evolution of THC with reaction time during Fe(VI) treatment in UP water, secondary effluents and in the presence of HA
p. S10
Figure S4
Evolution of (A) THM, (B) IMI, (C) CLO, (D) THC and (E) ACE with reaction time during Fe(VI)/PMS treatment in UP water with different concentrations of reagents
p. S11
Figure S5
Evolution of (A) THM, (B) IMI, (C) CLO, (D) THC and (E) ACE with reaction time during Fe(VI)/PMS treatment in UP water at different pH
p. S14
Figure S6
Evolution of (A) THM, (B) IMI, (C) CLO, (D) THC and (E) ACE with reaction time during Fe(VI)/PMS treatment in UP water in the presence of the radical scavengers TBA and MeOH
p. S17
Figure S7
Degradation of neonicotinoids by the Fe(VI)/sulfite system in UP water at different pH: instant removal percentages of each neonicotinoid
p. S20
Figure S8
Degradation of neonicotinoids by the Fe(VI)/sulfite system in UP water in the presence of the radical scavengers TBA and MeOH and under N2 atmosphere: instant removal percentages of each neonicotinoid
p. S21
Text S1. Chromatographic methods for analysis of the micropollutants
The concentration of each neonicotinoid was determined by HPLC, using a Waters Chromatograph (Alliance 2695) equipped with a 2998 Photodiode Array Detector and a Phenomenex Kinetex® C18 Column (5(m, 150mm×4.6mm). The analytical method was adapted from previous works (Acero et al. 2019; Real et al. 2022). The mobile phase consisted of a mixture of methanol and 10 mM o-phosphoric acid aqueous solution, with a flow rate of 1 mL min-1 and the injection volume was 100 (L. While the analysis of individual neonicotinoids was performed in isocratic mode, the mixtures of the five neonicotinoids were analyzed in gradient mode. The methanol percentage in the isocratic mobile phase was 25% for THM, 30% for IMI, 40% for ACE and CLO, and 45% for THC. The selected detection wavelengths were 253, 271, 248, 267 and 244 nm for THM, IMI, ACE, CLO and THC, respectively. Methanol (A) and 10 mM o-phosphoric acid aqueous solution (B) percentages in gradient mode were the following:


Time (min)
A (%)
B (%)

0
25
75


3.5
25
75


8.5
45
55


12
45
55


14
25
75


18
25
75
The selected detection wavelengths in gradient mode were 253 nm for TMX, 280 nm for ICP, 267 nm for CTD, and 236 nm for AMP and TCP. The limit of quantification of the neonicotinoids was 0.02 (M and the limit of detection was 0.006 (M.
Table S1 Physico-chemical properties of selected neonicotinoids
	Neonicotinoid
	Chemical Structure
	MW,   g/mol
	pKa
	log Kow
	Vm,    cm3

	Thiamethoxam

(THM)
C8H10ClN5O3S
	[image: image1.emf]N

O

N

N

H

3

C

S

N

Cl

NO

2


	291.71
	-
	-1.16
	170.2

	Imidacloprid

(IMI)
C9H10ClN5O2
	[image: image2.emf]N

N

N

N

H

NO

2

Cl


	255.67
	11.1
	-0.43
	160.1

	Clothianidin

(CLO)
C6H8ClN5O2S
	[image: image3.emf]N

S

H

N

H

N

N

O

2

N

H

3

C

Cl


	249.68
	-
	0.40
	147.8

	Thiacloprid

(THC)
C10H9ClN4S
	[image: image4.emf]N

N

S

N

CN

Cl


	252.73
	-
	0.55
	177.4

	Acetamiprid

(ACE)
C10H11ClN4
	[image: image5.emf]N Cl

N

CH

3

N

CH

3

CN


	222.68
	-
	0.62
	189.6


Octanol-water distribution coefficient (log Kow) and molar volume (Vm) have been determined with the software ACD/ChemSketch
pKa value for IMI obtained from Chamberlain et al. (1996)
Table S2 Quality parameters of selected secondary effluents
	
	SEA
	SEB

	pH
	8.2
	7.8

	Conductivity ((S/cm)
	850
	615

	A254 (cm-1)
	0.101
	0.169

	DOC (mg/L)
	4.3
	9.4

	COD (mg/L O2)
	10
	25

	Alkalinity (mg/L CaCO3)
	244
	183

	Total nitrogen (mg/L N)
	2.72
	5.6

	Total phosphorus (mg/L P)
	1.60
	0.31


Figure S1 Decay of Fe(VI) with reaction time in experiments of oxidation of THM by Fe(VI) in UP water at different pH. Experimental conditions: Initial concentration of THM = 1 (M; Initial concentration of Fe(VI) = 50 (M; T = 20 ºC

[image: image6.emf]0

10

20

30

40

50

0 50 100 150 200

t, min

[Fe(VI)], 

m

M

pH 6

pH 6.5

pH 7

pH 7.5

pH 8

pH 9


Figure S2 Evolution of (A) THM, (B) IMI, (C) CLO, (D) THC and (E) ACE with reaction time during Fe(VI) treatment in UP water at different pH. Experimental conditions: Initial concentration of each neonicotinoid = 1 (M; [Fe(VI)]0 = 100 (M; T = 20 ºC
[image: image7.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 20 40 60 80 100 120 140 160 180

t, min

[THM], 

m

M

pH 6

pH 7

pH 8

pH 9

(A)


[image: image8.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 20 40 60 80 100 120 140 160 180

t, min

[IMI], 

m

M

pH 6

pH 7

pH 8

pH 9

(B)


[image: image9.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 20 40 60 80 100 120 140 160 180

t, min

[CLO], 

m

M

pH 6

pH 7

pH 8

pH 9

(C)


[image: image10.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 5 10

t, min

[THC], 

m

M

pH 6

pH 7

pH 8

pH 9

(D)


[image: image11.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 20 40 60 80 100 120 140 160 180

t, min

[ACE], 

m

M

pH 6

pH 7

pH 8

pH 9

(E)


Figure S3 Evolution of THC with reaction time during Fe(VI) treatment in UP water, secondary effluents and in the presence of HA. Experimental conditions: Initial concentration of each neonicotinoid = 1 (M; [Fe(VI)]0 = 100 (M; T = 20 ºC; pH ≈ 8
[image: image12.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 2 4 6 8 10

t, min

[THC], 

m

M

UP

SEA

SEB

2 mg/L HA

5 mg/L HA

10 mg/L HA


Figure S4 Evolution of (A) THM, (B) IMI, (C) CLO, (D) THC and (E) ACE with reaction time during Fe(VI)/PMS treatment in UP water with different concentrations of reagents. Experimental conditions: Initial concentration of each neonicotinoid = 1 (M; pH = 8; T = 20 ºC; initial Fe(VI) concentration settings used: 0, 50, 100 (M;  initial PMS concentration settings used: 0, 100, 200, 400 (M
[image: image13.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 5 10 15 20 25 30

t, min

[THM], 

m

M

(A)

PMS 100 

m

M

PMS 200 

m

M

PMS 400 

m

M

Fe(VI) 50 

m

M

Fe(VI) 100 

m

M

PMS 100 

m

M Fe 50 

m

M

PMS 200 

m

M Fe 50 

m

M

PMS 400 

m

M Fe 50 

m

M

PMS 100 

m

M Fe 100 

m

M

PMS 200 

m

M Fe 100 

m

M

PMS 400 

m

M Fe 100 

m

M


[image: image14.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 5 10 15 20 25 30

t, min

[IMI], 

m

M

(B)

PMS 100 

m

M

PMS 200 

m

M

PMS 400 

m

M

Fe(VI) 50 

m

M

Fe(VI) 100 

m

M

PMS 100 

m

M Fe 50 

m

M

PMS 200 

m

M Fe 50 

m

M

PMS 400 

m

M Fe 50 

m

M

PMS 100 

m

M Fe 100 

m

M

PMS 200 

m

M Fe 100 

m

M

PMS 400 

m

M Fe 100 

m

M


[image: image15.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 5 10 15 20 25 30

t, min

[CLO], 

m

M

(C)

PMS 100 

m

M

PMS 200 

m

M

PMS 400 

m

M

Fe(VI) 50 

m

M

Fe(VI) 100 

m

M

PMS 100 

m

M Fe 50 

m

M

PMS 200 

m

M Fe 50 

m

M

PMS 400 

m

M Fe 50 

m

M

PMS 100 

m

M Fe 100 

m

M

PMS 200 

m

M Fe 100 

m

M

PMS 400 

m

M Fe 100 

m

M


[image: image16.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 5 10 15 20 25 30

t, min

[THC], 

m

M

(D)

PMS 100 

m

M

PMS 200 

m

M

PMS 400 

m

M

Fe(VI) 50 

m

M

Fe(VI) 100 

m

M

PMS 100 

m

M Fe 50 

m

M

PMS 200 

m

M Fe 50 

m

M

PMS 400 

m

M Fe 50 

m

M

PMS 100 

m

M Fe 100 

m

M

PMS 200 

m

M Fe 100 

m

M

PMS 400 

m

M Fe 100 

m

M


[image: image17.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 5 10 15 20 25 30

t, min

[ACE], 

m

M

(E)

PMS 100 

m

M

PMS 200 

m

M

PMS 400 

m

M

Fe(VI) 50 

m

M

Fe(VI) 100 

m

M

PMS 100 

m

M Fe 50 

m

M

PMS 200 

m

M Fe 50 

m

M

PMS 400 

m

M Fe 50 

m

M

PMS 100 

m

M Fe 100 

m

M

PMS 200 

m

M Fe 100 

m

M

PMS 400 

m

M Fe 100 

m

M


Figure S5 Evolution of (A) THM, (B) IMI, (C) CLO, (D) THC and (E) ACE with reaction time during Fe(VI)/PMS treatment in UP water at different pH. Experimental conditions: Initial concentration of each neonicotinoid = 1 (M; [Fe(VI)]0 = 50 (M; [PMS]0 = 200 (M; T = 20 ºC
[image: image18.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 5 10 15 20 25 30

t, min

[THM], 

m

M

pH 6

pH 7

pH 8

pH 9

(A)


[image: image19.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 5 10 15 20 25 30

t, min

[IMI], 

m

M

pH 6

pH 7

pH 8

pH 9

(B)


[image: image20.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 5 10 15 20 25 30

t, min

[CLO], 

m

M

pH 6

pH 7

pH 8

pH 9

(C)


[image: image21.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 1 2 3 4 5 6

t, min

[THC], 

m

M

pH 6

pH 7

pH 8

pH 9

(D)


[image: image22.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 5 10 15 20 25 30

t, min

[ACE], 

m

M

pH 6

pH 7

pH 8

pH 9

(E)


Figure S6. Evolution of (A) THM, (B) IMI, (C) CLO, (D) THC and (E) ACE with reaction time during Fe(VI)/PMS treatment in UP water in the presence of the radical scavengers TBA and MeOH. Experimental conditions: Initial concentration of each neonicotinoid = 1 (M; [Fe(VI)]0 = 50 (M; [PMS]0 = 200 (M; T = 20 ºC
[image: image23.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 5 10 15 20 25 30

t, min

[THM], 

m

M

without scavenger

TBA 5 mM

MeOH 5 mM

(A)


[image: image24.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 5 10 15 20 25 30

t, min

[IMI], 

m

M

without scavenger

TBA 5 mM

MeOH 5 mM

(B)


[image: image25.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 5 10 15 20 25 30

t, min

[CLO], 

m

M

without scavenger

TBA 5 mM

MeOH 5 mM

(C)


[image: image26.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 2 4 6

t, min

[THC], 

m

M

without scavenger

TBA 5 mM

MeOH 5 mM

(D)


[image: image27.emf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

0 5 10 15 20 25 30

t, min

[ACE], 

m

M

without scavenger

TBA 5 mM

MeOH 5 mM

(E)


Figure S7 Degradation of neonicotinoids by the Fe(VI)/sulfite system in UP water at different pH: instant removal percentages of each neonicotinoid. Experimental conditions: Initial concentration of each neonicotinoid = 1 (M; [Fe(VI)]0 = 50 (M; [sulfite]0 = 200 (M; T = 20 ºC
[image: image28.emf]0

10

20

30

40

50

60

70

80

90

100

THM IMI CLO THC ACE

Instant removal, %

pH 6

pH 7

pH 8

pH 9


Figure S8 Degradation of neonicotinoids by the Fe(VI)/sulfite system in UP water in the presence of the radical scavengers TBA and MeOH and under N2 atmosphere: instant removal percentages of each neonicotinoid. Experimental conditions: Initial concentration of each neonicotinoid = 1 (M; [Fe(VI)]0 = 50 (M; [sulfite]0 = 200 (M; pH = 8; T = 20 ºC
[image: image29.emf]0

10

20

30

40

50

60

70

80

90

100

THM IMI CLO THC ACE

Instant removal, %

without scavenger

TBA 5 mM

TBA 10 mM

MeOH 5 mM

MeOH 10 mM

Nitrogen atmosphere


References
Acero JL, Real FJ, Benitez FJ, Matamoros E (2019) Degradation of neonicotinoids by UV irradiation: Kinetics and effect of real water constituents. Sep Purif Technol 211:218–226. https://doi.org/10.1016/j.seppur.2018.09.076
Chamberlain K, Evans AA, Bromilow RH (1996) 1-Octanol/water partition coefficient (KOW) and pKa for ionisable pesticides measured by a pH-metric method. Pestic Sci 47:265–271. https://doi.org/10.1002/(SICI)1096-9063(199607)47:3<265::AID-PS416>3.0.CO;2-F
Real FJ, Acero JL, Benitez FJ, Matamoros E (2022) Elimination of neonicotinoids by ozone-based advanced oxidation processes: Kinetics and performance in real water matrices. Sep Purif Technol 301:121975. https://doi.org/10.1016/j.seppur.2022.121975
1
S1

