Table S1

Detailed SAXS Data collection and derived parameters for FL and NT-TPR constructs of SGTA.

Abbreviations: Mr: molecular mass; Rg: radius of gyration; Dmax: maximal particle dimension; Vp: Porod volume.

|  | ENTH |  |  |
| --- | --- | --- | --- |
| Data collection parameters |  |  |  |
| Instrument | EMBL P12 beam line (PETRA-III, DESY, Hamburg) |  |  |
| Beam geometry | 0.2 x 0.12 mm2 |  |  |
| Wavelength (Å) | 1.24 |  |  |
| s range (Å-1)a | 0.01-0.46 |  |  |
| Exposure time (s) | 1 (20×0.05 s) |  |  |
| Concentration range (mg/mL) | 0.6-8.8 mg/ml |
| Temperature (K) | 298 |
| Structural parametersb | FL | NterTPR |  |
| I(0) (cm-1) [from p(r)] | 17000 ± 60 | 10980 ± 70 |  |
| Rg (nm) [from p(r)] | 4.5 ± 0.3 | 3.8 ± 0.1 |  |
| I(0) (cm-1) (from Guinier) | 16855 ± 62 | 10843 ± 16 |  |
| Rg (nm) (from Guinier) | 4.2 ± 0.2 | 3.6 ± 0.1 |  |
| Dmax (nm) | 18 ± 1 | 14 ± 1 |  |
| Porod volume estimate (Å3) | 153.0 ± 1.2 | 64.3 ± 0.3 |  |
| Dry volume calculated from sequence (Å3)c | 82.7 assuming dimer |  | 57.1 assuming dimer |  |
| Molecular-mass determination |  |  |  |
| I(0) (cm-1) BSA (66 kDa) | 19568 ± 25 |  |  |
| Molecular mass Mr (kDa) [from I(0)] | 57 ± 2 | 37 ± 2 |  |
| Molecular mass Mr (kDa) [from Porod volume (Vp/1.6)] | 65 ± 5 | 41 ± 4 |  |
| Calculated monomeric Mr from sequence (kDa) | 34.2 |  | 23.6 |  |  |
| Software employed |  |  |  |
| Primary data reduction | RADAVER |  |  |
| Data processing | PRIMUS/Qt |  |  |
| Ab initio analysis | DAMMIF |  |  |
| Validation and averaging | DAMAVER |  |  |
| Ensemble Optimization | EOM 2.0 |  |  |
| Rigid-body modeling | SASREF |  |  |
| Computation of model intensities | CRYSOL |  |  |
| 3D graphics representations | PyMOL, UCSF Chimera |  |  |

aMomentum transfer s = 4πsin(θ)/λ. bValues reported for 1.5 mg mL-1. Dry volume determined using the server: http://www.basic.northwestern.edu/biotools/proteincalc.html