Supplementary Material

A new HPLC method with multiple detection systems for impurity analysis and discrimination of natural versus synthetic cannabidiol

Virginia Brighentia, Matilde Marania, Clarissa Carolia,b, Laura Bertarinia,b, Alessio Gaggiottic, Federica Pollastrod, Caterina Durantee, Giuseppe Cannazzaa, Federica Pellatia*

aDepartment of Life Sciences, University of Modena and Reggio Emilia, via G. Campi 103, 41125, Modena, Italy
bClinical and Experimental Medicine PhD Program, University of Modena and Reggio, Via Giuseppe Campi 287, 41125 Modena, Italy

cFarmech, Piazza Duomo 20, 20122 Milano, Italy

dDepartment of Pharmaceutical Sciences, University of Eastern Piedmont, Largo Donegani 2, 28100 Novara, Italy

eDepartment of Chemical and Geological Sciences, University of Modena and Reggio Emilia, Via G. Campi 103, Modena 41125, Italy

*Corresponding author:

Prof. Federica Pellati

Phone: +39-059-2058565

E-mail: federica.pellati@unimore.it

| Table S1 Linearity ad sensitivity data of the HPLC-UV/Vis method |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Compound | Concentration range (µg/mL) | Correlation coefficient (r2) |  |  |  | LOD (µg/mL) | LOQ (µg/mL) |
| CBDV | 2.5-50.0 | 0.998 |  |  |  | 0.3 | 1.0 |
| CBDB | 2.5-50.0 | 0.998 |  |  |  | 0.6 | 2.1 |
| Δ9-THC | 2.5-50.0 | 0.999 |  |  |  | 0.3 | 0.8 |
| Δ8-THC | 2.5-50.0 | 0.996 |  |  |  | 1.0 | 3.4 |
| CBC | 1.7-66.5 | 0.998 |  |  |  | 1.6 | 5.2 |
| CBD | 51.5-206.0 | 0.999 |  |  |  | 0.4 | 1.3 |

| Table S2 Intra- and inter-day precision of the HPLC-UV/Vis method for the target analytes, expressed as mean of tR (min) ± RSD and peak area (mAU×s) ± RSD (n = 9) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Compound | Day 1 |  |  |  | Day 2 |  |  | Day 3 |  |  |  | Inter-day |  |
|  | tR (min) | Area (mAU×s) |  | tR (min) |  | Area (mAU×s) |  | tR (min) | Area (mAU×s) |  | tR (min) |  | Area (mAU×s) |
| CBGV | 8.5±0.5 | 3750.9±3.3 |  | 8.5±0.1 |  | 3845.0±4.3 |  | 8.5±0.1 | 3991.9±8.8 |  | 8.5±0.2 |  | 3862.6±5.9 |
| CBDV | 8.7±0.3 | 8431.9±4.5 |  | 8.7±0.1 |  | 9069.5±9.3 |  | 8.7±0.1 | 9186.6±6.7 |  | 8.7±0.2 |  | 8896.0±7.4 |
| CBDB | 10.5±0.2 | 2627.7±5.7 |  | 10.5±0.1 |  | 2781.4±5.2 |  | 10.5±0.1 | 2834.8±6.3 |  | 10.5±0.2 |  | 2747.9±6.0 |
| CBG | 12.1±0.2 | 5374.6±6.8 |  | 12.1±0.1 |  | 5661.7±5.7 |  | 12.1±0.1 | 5752.9±5.7 |  | 12.1±0.1 |  | 5596.4±6.1 |
| CBD | 12.8±0.2 | 5976.9±4.8 |  | 12.8±0.1 |  | 6343.3±5.0 |  | 12.8±0.1 | 6515.2±6.5 |  | 12.8±0.1 |  | 6278.5±6.1 |
| abn-CBD | 15.6±0.1 | 5007.0±4.6 |  | 15.6a |  | 5334.9±5.6 |  | 15.6±0.1 | 5403.6±6.5 |  | 15.6±0.1 |  | 5284.5±6.1 |
| CBCV | 16.4±0.1 | 1305.1±3.6 |  | 16.4a |  | 1345.7±9.7 |  | 16.4±0.1 | 1377.2±8.4 |  | 16.4±0.1 |  | 1342.7±7.1 |
| Δ9-THC | 20.4±0.1 | 7193.7±5.0 |  | 20.5a |  | 7614.6±5.4 |  | 20.5±0.1 | 7735.1±5.4 |  | 20.5±0.1 |  | 7514.5±5.6 |
| Δ8-THC | 20.9±0.1 | 2522.6±1.5 |  | 21.0a |  | 2736.7±4.2 |  | 21.0±0.1 | 2788.0±7.0 |  | 21.0±0.1 |  | 2682.4±6.2 |
| CBC | 23.2±0.1 | 967.9±5.2 |  |  | 23.3a | 23.3±0.1 |  | 23.3±0.1 | 1043.0±5.8 |  | 23.3±0.1 |  | 1000.1±6.0 |
| a RSD < 0.05 |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Table S3 Accuracy data for the target compounds, expressed as % recovery ± RSD |  |
| --- | --- |
| Compound | % Recovery |
| CBDV | 93.9±4.5 |
| CBDB | 94.0±3.9 |
| Δ9-THC | 82.9±1.4 |
| Δ8-THC | 96.6 a |
| CBC | 91.9±0.1 |
| CBD (synthetic) | 104.0±2.6 |
| CBD (natural) | 106.2±0.4 |
| a RSD < 0.05 |  |

Fig. S1 Extracted Ion Chromatograms (EIC) of CBDH in samples of natural CBD. Area of the peaks were obtained by extracting the exact mass (mass tolerance: 5 ppm) of CBDH ([M+H]+ = 329.2473).

Fig. S2 Extracted Ion Chromatograms (EIC) of CBDH in samples of synthetic CBD. Area of the peaks were obtained by extracting the exact mass (mass tolerance: 5 ppm) of CBDH ([M+H]+ = 329.2473).

Fig. S3 Extracted Ion Chromatograms (EIC) of CBDP in samples of natural CBD. Area of the peaks were obtained by extracting the exact mass (mass tolerance: 5 ppm) of CBDP ([M+H]+ = 343.2630).

Fig. S4 Extracted Ion Chromatograms (EIC) of CBDP in samples of synthetic CBD. Area of the peaks were obtained by extracting the exact mass (mass tolerance: 5 ppm) of CBDP ([M+H]+ = 343.2630).