Supplemental Material:

Table S1: Calibration curve equations for CBD and CBDA and their respective R2 values.

| Component | Concentration range | Linear equation | R2 value |
| --- | --- | --- | --- |
| CBD | 0.1-100 g/L | y = 51.554x – 3.7776 | 0.9996 |
| CBDA | 0.1-100 g/L | y = 116.44x + 5.3981 | 0.9999 |