Steps to use the MATLAB script for estimating metabolite FRET

- Prepare the data for analysis by separately saving the CFP and YFP files with different filenames

- Input the path of the folder containing the CFP and YFP files in the line 9 showing “read_folder”

- Input the file pattern to identify CFP and YFP files in lines 11 and 12 of the MATLAB code

- Input the number of samples in line 17

- Run the code

- Draw the background rectangle in the first window that opens

- Draw freehand ROI to select the region of interest in the next window

- The program will repeat steps 6 and 7 till ROIs are selected in all the samples

- The Program automatically saves the .mat files containing the FRET and total donor intensity matrices.

- Double click the “All_Disc_mean” variable in the workspace of MATLAB and you can see the average FRET values of all the samples. You can copy this to any worksheet like excel for further analysis.