TABLE S1	Urine integrity tests criteria.

| Urine Integrity Tests - Creatinine - Gravity - pH - Nitrite | Creatinine <4,52 mg/dl density < 1.001 | The sample is not urine |
| --- | --- | --- |
|  | Creatinine 4,52-20mg/dl density 1.001-1.003 | Diluted urine sample |
|  | Creatinine 20-200 mg/dl density 1.003-1.035 pH 3-11 nitrite negative | Urine sample suitable for analysis |
|  | Creatinine >200 mg/dl density >1.035 pH < 3 or >11 nitrite positive | Tampered urine sample |