Supplementary Material

# Supplementary Methods

MRI acquisition—MRI scans were acquired on a 3T Signa LX MRI scanner (GE Healthcare, Waukesha, WI) using a 32-channel quadrature transmit/receive head coil. High-resolution anatomical images were acquired using a T1-weighted spoiled gradient-recalled at steady-state (SPGR) pulse sequence (TR=8.2 ms, TE=3.4 s, TI=450 and flip angle of 12°). The in-plane resolution of the anatomical images was 256x256 with a square field of view (FOV) of 240 mm. One hundred fifty slices were acquired at 1 mm thickness. Echoplanar images (EPI) were collected while performing the Affective Go/No-go task [designed using E-Prime software 110, see below] using a T2*-weighted gradient-echo EPI pulse sequence (TR/TE=2500ms/30ms, FOV=200cm, matrix 64x64 pixels, slice-thickness=3.2mm, flip angle=90 degrees, 44 contiguous sag slices).