Appendix 1. Certificate of Analysis (COA) from a Third Party Lab

Certificate of Analysis Client: Product Name: Sample ID: ############ Lot #: ##### Authorized By: _____________ Laboratory Manager, QA CoA Prepared: DD-MM-YYYY Potency wt % mg/mL Total THC equivalents (D9-THC + D9-THCA x 0.877) 0.13% 1.0 Total CBD equivalents (CBD + CBDA x 0.877) 2.55% 24.1 Most abundant minor cannabinoids wt % wt % CBC 0.14% CBGA BLQ CBG BLQ CBDV BLQ Terpenes Most abundant of the 39 terpenes quantified wt % wt % Guaiol 0.024 alpha-Humulene 0.004 alpha-Bisabolol 0.022 Borneol isomers 0.001 trans-Caryophyllene 0.010 beta-Myrcene BLQ alpha-Terpineol 0.007 Fenchone isomers BLQ Linalool 0.006 Fenchyl Alcohol BLQ Contaminant Analysis Residual Solvents Limits for residual solvents below ICH Q3C guidelines pass Microbial Quality Total aerobic microbial counts pass Total yeast and mold counts pass Bile-tolerant gram-negative bacteria pass E coli absent Salmonella spp absent Aflatoxins Aflatoxin B1, B2, G1, G2 pass Heavy Metals Arsenic, Cadmium, Lead, Mercury pass Pesticides None detected

Details of Testing Cannabinoid Profile Quantification of 14 cannabinoids by ultra-high-performance liquid chromatography and mass spectrometry detection (UHPLC-MS). LOQ for flower and formulated oils is 0.064% (w/w) and for concentrates is 0.128% (w/w). [STM-401] Terpene Profile Quantification of 39 terpenes by gas chromatography and mass-spectrometry detection (GC-MS). [STM-406] Residual Solvents Quantification of 11 extraction solvents using headspace sampling, gas chromatography, and mass spectrometry detection (HS-GC-MS) compliant to ICH Q3C. [STM-410] Microbial Quality Microbiological screening using European Pharmacopoeia methods 2.6.12, 2.6.13, and 2.6.31. [STM-402] Aflatoxins Aflatoxins B1, B2, G1, and G2 quantification using immunoaffinity column chromatography followed by ultra-high- performance liquid chromatography with tandem mass-spectrometry (UHPLC-MS/MS) detection to meet criteria in European Pharmacopoeia method 2.8.18. [STM-405] Heavy Metals Microwave digestion and inductively-coupled plasma mass-spectrometry detection (ICP-MS) to test for arsenic, cadmium, lead, and total mercury. ICP-MS analysis performed by ISO 17025 accredited 3rd party lab. [STM] Pesticides Screening of 51 pesticide residues and plant growth regulators specifically identified as prevalent contaminants to cannabis production. Analysis performed ultra-high-performance liquid chromatography with tandem mass- spectrometry detection (UHPLC-MS/MS). [STM-407] Pesticides and Plant Growth Regulators tested for: Abamectin Diazinon Imidacloprid Pyrethrin I Acephate Dichlorvos Kresoxim-methyl Pyrethrin II Acetamiprid Dimethoate Malathion Pyridaben Aldicarb Ethoprophos Metalaxyl Spinosad A Azoxystrobin Etofenprox Methiocarb Spinosad D Bifenazate Etoxazole Methomyl Spiromesifen Boscalid Fenoxycarb Myclobutanil Spirotetramat Carbaryl Fenpyroximate Oxamyl Spiroxamine Carbofuran Fipronil Paclobutrazol Tebuconazole Chlorantraniliprole Flonicamid Phosmet Thiacloprid Chlorpyrifos (ethyl) Fludioxonil Piperonyl butoxide Thiamethoxam Clofentezine Hexythiazox Propiconazole Trifloxystrobin