Supplementary Table 1: LLOQ validation for CBD, 7-OH-CBD, and 7-COOH-CBD in mouse plasma.

| Analyte | Nominal Concentration LLOQ a (ng/mL) | Mean SD (ng/mL) b | Accuracy (%) c | Precision (CV, %) d | S/Ne |
| --- | --- | --- | --- | --- | --- |
| CBD | 25 | 22.2 1.07 | 89.8 | 4.80 | >10 |
| 7-OH-CBD | 50 | 54.5 1.99 | 109 | 3.70 | >10 |
| 7-COOH-CBD | 50 | 50.3 3.14 | 101 | 6.20 | >10 |

a LLOQ, lower limit of quantification.

b LLOQ values were determined from five replicate measurements.

c Accuracy (%), mean measured concentration/nominal concentration X 100.

d Precision (CV, %), standard deviation/mean measured concentration X 100.

e S/N, signal-to-noise ratio.

Supplementary Table 2. Intra-day and inter-day accuracy and precision of UPLC-MS/MS method used for quantifying CBD, 7-OH-CBD and 7-COOH-CBD in mouse plasma.

| Analyte | QC Level a | Nominal Concentration (ng/mL) | Intra-Day (n = 5) |  |  | Inter-Day (n = 15) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Mean SD (ng/mL) | Accuracy (%) b | Precision (CV, %) c | Mean SD (ng/mL) | Accuracy (%) | Precision (CV, %) |
| CBD | LQC | 200 | 196 4.47 | 98.0 | 2.28 | 193 5.17 | 96.5 | 2.68 |
|  | MQC | 6400 | 5855 105 | 91.4 | 1.79 | 5842 83 | 91.3 | 1.42 |
|  | HQC | 12800 | 11847 154 | 92.6 | 1.30 | 12028 277 | 94.0 | 2.30 |
| 7-OH-CBD | LQC | 200 | 193 2.27 | 96.7 | 1.17 | 192 4.73 | 95.9 | 2.47 |
|  | MQC | 6400 | 5577 234 | 87.1 | 4.20 | 5 706 264 | 89.1 | 4.63 |
|  | HQC | 12800 | 11731 305 | 91.7 | 2.60 | 11851 287 | 92.6 | 2.43 |
| 7-COOH-CBD | LQC | 200 | 184 3.50 | 92.1 | 1.90 | 188 5.99 | 94.1 | 3.18 |
|  | MQC | 6 400 | 5 575 38.4 | 87.1 | 0.69 | 5 611 84.9 | 87.7 | 1.51 |
|  | HQC | 12 800 | 12 140 305 | 94.8 | 2.51 | 12 074 233 | 94.3 | 1.93 |

aQC, quality control; LQC, low quality control; MQC, medium quality control; HQC, high quality control.

b Accuracy (%), mean measured concentration/nominal concentration X 100.

c Precision (CV, %), standard deviation/mean measured concentration X 100.